 Haffkine Bio-Pharmaceuticals Corporation Limited

 (A Govt. of Maharashtra Undertaking.)

 Acharya Donde Marg Parel, Mumbai 400 012

Tel: 022- 24129320-22 / 24147564 Fax: 022-24168578

MM Dept.

**Enquiry No. :– HBPCL/MM/ENGG/ELECT/03**

Date :- 06/07/2015

**To,**

**M/s.** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Subject :-** **Enquiry for Electrical Material**

Dear Sir,

Please quote your best competitive price for the Electrical material as below mentioned details,

**Quotation should be sent in a sealed envelope super scribed with our Enquiry No. and Date to the undersigned at the above address.**

**Quotation should be sent on your letterhead alongwith stamped & signed**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sr.No.** | **Description** | **Note** | **Required Qty.** | **Rate Rs. Per Unit**  | **Total Amount Rs.** |
| 1] | HRC Fuse 16 Amperers Make Siemens  | As per Sample ( Required for Polio dept. Air Condition Plant) | 10 No. |   |   |
| 2] | HRC Fuse 25 Amperers Make Siemens | 10 No. |   |   |
| 3] | HRC Fuse 32 Amperers Make Siemens | 10 No. |   |   |
| 4] | Tublar Air Heater Incoly 800 Sheathed Dia-8mm, 230 V, U Shape as per diag working Length 539mm Non heating Length 270mm, Capacity 1.25 KW | As per Sample ( Required for Polio dept. Tunnel Machine) | 2 No. |   |   |
| 5] | Selec Make Timer (Model No.800SQ-A-230) | (Required for oral liquid dept. Chiller pump) | 1 No. |   |   |
| 6] | Air Break (power) contactor, Make-Siemes, Coil Voltage-230V, Type-3TF34 | (Required for Polio dept. Air Condition Plant Chiller Compressor) | 1 No. |   |   |
| 7] | Contactor, Make-Siemes, Coil Voltage-230V, Type-3TF34 | 1 No. |   |   |
| 8] | Emersion Heater 2 KWatts coil type | As per Sample (required for water tank) | 2 No. |   |   |
| 9] | 415 Volts/100 Amp. Porcelin Cutout for main supply. |  (required for Pump Room A Building) | 3 No. |   |   |
| 10] | 415 Volts/100 Amp. 3 Phase Main Switch  | 1 No. |   |   |
| 11] | Temp. Indicator, Range-0 to 200 C, LC-IC Input, PT 100 Size-48' x 96'  | As per Sample (required for Oral Liquid Dept. Premixture Tank) | 1 No. |   |   |
| 12] | RTD Sensor PT 100 6mm Diameter 3 meter gray wire  | 1 No. |   |   |
| 13] | 4'' , 36 Watt Tublight (4 Feet) | ( Required for Gymkhana) | 50 No. |   |   |
| 14] | Electronic Choke 36 Watt | 50 No. |   |   |
| 15] | Halogen Tube Philips Make 500 Watt Double ended lamp | (Required for General Maintenance Pharma site) | 06 No. |   |   |
| 16] | Halogen Tube Philips Make 1000 Watt Double ended lamp | 06 No. |   |   |
| 17] | Electric Door Strike (Spares for Door Interlocking Systems) | As per Sample (required for Door interlocking System installed at OPV dept.) | 6 No. |   |   |
| 18] | Flow Switch, Make:- Multi Tech Devices, Model:-WFS-06-S-1, Max Pressure:-10 Kg./CM2, Elect. Contact:-0.5-3LPM, Medium:-Water | (required for Oral Liquid Dept.) | 6 No. |   |   |
| 19] | Analouge Telephone Instruments | (required for QA Dept. & OLD) | 3 No. |   |   |
| 20] | RTD Sensor 6" Long 6 mm Diameter, Wire Length 3 meter, Teflon coated | (required for OPV Dept.) | 6 No. |   |   |
| 21] | RTD Sensor 6" Long 6 mm Diameter, Wire Length 3 meter, with SS shielded wire | 3 No. |   |   |
| 22] | Roma make 12 model box with plate |   | 2 No. |   |   |
| 23] | Roma make 6 amp switch  |   | 20 No. |   |   |
| 24] | Roma make 10 amp socket |   | 10 No. |   |   |
| 25] | Switch type Dimmer | (required for Inspection machine no.4 OPV dept. | 2 No. |   |   |
| 26] | DC Motor, make-Rohini, Voltage-180 volt DC Frame-80, RPM-1500rpm, Insulation- Class F | (required for filling machine at OPV dept. | 1 No. |   |   |
| 27] | S.S.R. Solid state relay, make-Satronix, Amp-25 amp, 3 to 32 VDC | (required for QC-Bio Oven) | 2 No. |   |   |

**Note :- Sealed Quotation send within 8 days**

**Commercial Terms and Conditions**

* Govt. Taxes & Duties mentioned extra except basic Price.
* No advance payment & Payment 100% after successful delivery & installation.

 **For- Haffkine Bio-Pharma Corp. Ltd.**

 **G.P.Supe**

 **(Material Manager)**

**Address :-**

MM Dept.

Haffkine Bio-Pharmaceutical Corporation Limited

Acharya Donde Marg, Parel, Mumbai – 400 012

Tel :- 022-24129320/21/22/23, Fax :- 022-24168578

Email-Id :- saching.mehbpcl@yahoo.com